Form 10.1. Installation checklist:  Media filters

Client name:			 Reference #:

Permit(s) #:

Completed by:		 Time:				 Date:

1. 	Type of media filter:

Single pass:  	( Sand	( Foam	( Peat		Other:

Recirculating:	( Sand/gravel	(	Foam	( Textile  	( Peat

Other:

Trickling filter:	( Gravel	(	Plastic		Other:

Upflow filter: 	( Sand/gravel	(	Wood chips			Other:

( Generic

( Proprietary

Manufacturer:

Model:

( Manufacturer assembled

( Contractor assembled

2.		Excavation

a.		Stake location					( Yes

b.		Verify elevations					( Yes

Bottom elevation: 			 feet

c.    Water present in excavation			( Yes	( NA

If yes, dewatering performed:			( Yes	( NA

d.		Bottom of excavation graded to specifications			( Yes	( NA

e.		Bottom of excavation stable			( Yes

f.		Bedding material:	Depth 	 in.		( Yes	( NA

g.  	Bedding stabilized/compacted			( Yes

Method of compaction:

h.		Recirculation berm installed			( Yes	( NA

3.		Container/liner:	( Wood		( Concrete	( Fiberglass 	( Plastic   	(  PVC

( Other:

a.		Rigging and lifting according to manufacturer 		( Yes	( NA

b.		Container/liner watertight 	(

c.		Mounting pad or anti-floatation flange installed		( Yes	( NA

d.		Temporary or permanent bracing installed		( Yes	( NA

4.    	Filter drainage systems   ( Contractor-assembled    ( Manufacturer-assembled

a.		Under-drain medium:

b.		Under-drain piping installed 				(  Yes	( NA

Pipe diameter:

Slot opening width:

Slot spacing:

Slot orientation:

c. 	Internal pump basin installed level and plumb				( Yes	( NA

d.		Under-drain perforates container/liner			( Yes	( NA

(  Proper watertight boot/fitting installed

(  Proper watertight glue joint made

e.		Sub-aeration piping installed			( Yes	( NA

( PVC

( Polyethylene

Construction:

( Manufacturer-assembled

( Contractor-assembled

Orifice spacing:

Orifice diameter:

Orifice orientation:

5.		Media

a.		Manufacturer-assembled  					(  Yes

(	Media placed into container/liner properly

(	Properly compacted    						(  NA

b.		Contractor-assembled					(  Yes

(	Specification met

- Proper handling during transport to site

- Properly stored

- Properly placed into container/liner

- Properly compacted 					(  NA

6. 	Backfill procedures

a. 	Material:

b. 	Anti-floatation measures installed			( Yes	( NA

c.		Backfill placed in level lifts even with media			( Yes	( NA

d. 	Backfill properly compacted 			( Yes	( NA

e.		Sidewall insulated.  Type: 			     	( Yes	( NA

7.		Electrical installation

a. 	Conduit/junction box(s) installed			( Yes	( NA

b.  	Connections/penetrations properly sealed and watertight	( Yes	( NA

8.		Effluent distribution:

a.		Distribution method:

( Pressure distribution

i.	Pump					( Yes

ii.	Siphon    				( Yes

( Gravity distribution

b.		Distribution method installed	 				(  Yes

9.		Venting/Air supply:	( Passive	( Active

a. 	Method used

( Free air	( Fan	( Aspirator	( Compressor	( Blower	( Venturi

b.		Air filter/screen installed								( Yes	( NA

c.     Vent piping sloped towards media filter  			( Yes	( NA

10.	Cover

a.		Type of cover:	( Free access	( Buried	( Lid

b.		Cover conforms to design			( Yes

i.	Type

ii.	Depth

iii.	Crowned				( Yes	( NA

c.		Lid secured   								( Yes	( NA

d.		Distribution component accessible             			( Yes	( NA

e.		Filter protected from stormwater flow			( Yes

11.	Insulation of access points

a.		Media filter lid insulated by manufacturer			( Yes 	( NA

Type of insulation:

b.		Access riser lid(s) insulated   			( Yes 	( NA

i.	( Contractor-assembled	( Manufacturer-assembled

Type of insulation:

ii.  	Insulation does not interfere with internal electrical	( Yes

or piping components

12. 	Additional tasks for trickling filters

a.    Pull tethers attached to all pumps		( Yes	( NA

Pull tether strength adequate for task 		( Yes	( NA

b.    Pull tethers to pumps secured properly		( Yes	( NA

c.    Effluent recycle pump piping installed to primary tank inlet	( Yes	( NA

d.    Sludge return pump piping installed to primary tank inlet	( Yes	( NA

13.	Manufacturer/generic installation procedures followed:           	( Yes

Specify if necessary:

14.  	Site stabilized after construction:

a.   	Erosion control measures in place   		(  Yes

b.   	Site loamed/topsoil dressed, seeded, and/or mulched   	( Yes	( NA

c.   	Finish grading and landscaping being done by others  	( Yes	( NA

d.  	Owner advised of landscaping precautions  		( Yes

NA = not applicable

PVC = polyvinyl chloride

# Text boxes

Comments:

Comments:

Comments: