Form 10.12. Startup checklist:  Disinfection - ultraviolet light.

Client name: 	 Reference #:

Permit(s) #:

Completed by: 	 Time: 	 Date:

1.	Manufacturer:

Model #:

2.	Housing assembly installation

a.	Unit level and plumb				(  Yes
b.	Unit stable				(  Yes

c.	Unit accessible				(  Yes

d.	Grab handle needed and installed			(  Yes	(  NA

e.	Unit watertight and no leakage at quick disconnect	(  Yes

f.	Provides protection from:

i.	Freezing		(  Yes	(  NA

Insulation adequate		(  Yes

ii.	Excessive heat		(  Yes	(  NA

iii.	Dust		(  Yes	(  NA

iv.	Vandalism 		(  Yes

3.     Power supply

a. 	Type of power   	( AC    ( DC    	Voltage at lamp:

b.	Power supply appropriate for unit	(  Yes

c.	UV lamp operable		(  Yes

d.	Indicate lamp replacement period

( 12 months	( 24 months  	( Other:

e. 	Lamp accessible 						(  Yes

f.	Adequate cable slack present	(  Yes

g.	Splice box lid and cord grips are tight	(  Yes

4.	UV control panel

a.	Unit equipped with a lamp intensity sensor		( Yes	( No

Type of sensor:   	( Light	( Meter

b.	Alarm present			( Yes	( No

If present, operating properly		( Yes

c.	GFCI is operating properly		( Yes

d.	Panel enclosure watertight	( Yes

e.    Alarm test switch operating properly	( Yes

f.	Control switch set to:		( ON    	( OFF (explain)

g.	Telemetry unit connected and operable	( Yes	( NA

i.	Land line phone service active	( Yes	( No (explain)

ii.	Owner(s) advised about telemetry operation	( Yes

5.   Startup according to manufacturer’s specifications	( Yes

AC = alternating current

DC = direct current

GFCI = ground fault circuit interrupter

UV = ultraviolet

# Text boxes

Comments: