Form 10.7. Installation checklist: Lagoons

Client name: 	 Reference #:

Permit(s) #

Completed by: 	 Time: 	 Date:

1. 	Lagoon specifications:

a.	Type:

( Aerobic	( Facultative	( Partial-mixed aerated   	( Anaerobic

i. 	Aerator installed 			( NA	( Yes  	( No

ii. 	If yes, describe:

b.	Lagoon size:						ft

i.	Dimensions:											ft

2.	Site preparation & considerations

a.	Stake lagoon footprint (bottom, sides and berm)				(

b.    Confirm system elevations						(

Difference between lagoon bottom and tank outlet: 					ft

3.	Excavation

a.	Equipment/method/means of excavation:

b.    Was water present in excavation?			( Yes  	( No

( If yes, dewater

c.	Bottom of excavation graded to specifications					(

d.	Side of excavation graded to specifications						(

4.	Liner

a.	Liner material:

5.	Inlet to lagoon

a.	Distribution method:

( Gravity fed     	( Pressure dosed

b.	Inlet pipe specifications:

c.	Pipe penetrates liner 				( Yes  	( No

d.	Pipe at appropriate elevation to water level				(

6.	Water level management

a.	Description:

b. 	Permanent depth marker in place: 			( Yes  	( No

7.	Border around lagoon

a.	Type of border material:

b.	Land surface cleared around lagoon as specified				(

c.	Land surface graded to promote runoff				(

d.	Fencing installed					( Yes  	( No

e.	Lockable gate placed in fencing				( Yes  	( No

# Text boxes

Comments: