Form 11.1: Installation checklist:  Soil treatment area.

Client name: 	 Reference #:

Permit(s) #:

Completed by: 	 Time: 	 Date:

1. 	Type

a.	Method of application to soil: (attach appropriate checklist)

( Gravity distribution	( Pressure-dosed gravity

( Pressure distribution   	( Siphon to gravity

b.	Configuration:

i. Below-grade

( Shallow, narrow pressurized trench

( Low-pressure distribution (LPD) trench 	( Bed

( Parallel trench      	( Serial trench		( Sequential trench

ii. Above-grade

( Mound         	( Modified mound     	( Areal fill

( At-grade           	( Bottomless media filter

2.	Preconstruction considerations

a. 	Utility location completed					(

b	Soil moisture content

i.	Soil too dry for construction		( Yes  	( No

ii.	Soil too wet for construction		( Yes  	( No

3.	Site preparation

a.	Stake STA footprint					(

b.	STA dimensions

i.	Width:

ii.   	Length:

c.    Confirm all setbacks   					(

d.    Confirm system elevations					(

e.	Confirm site access					(

f.	Remove vegetation in footprint		( NA	( Yes  	( No

If yes, method/machine used:

g.	Scarify surface of STA 			( NA	( Yes  	( No

If yes, method/machine used:

h.	Stake trench/bed boundaries with elevations			( Yes  	( No

4.	Fill (Above-grade STA)                               	( NA

a.	Fill/sand specification:

b.   	Minimum amount of fill prior to traffic on filled area	(  				in.

c.	Low-ground-pressure machine used to bring in fill material			(

d.	Machine used:

e. 	Fill incorporated with native soil according to local code 	( NA 	( Yes  	( No

5.	Trenches/bed

a.	Equipment/method/means of excavation:

b.	Trench/bed bottom graded to specifications			( Yes  	( No

i. Trench/bed bottom raked or otherwise not smeared 	( NA	( Yes  	( No

c.	Inspection ports   				( Yes  	( No

i.	Specification

a. 	Type:

b. 	Diameter:							 inches

c. 	Perforations          ( Slots     ( Holes

ii.    Access

(  To grade   (  Above-grade 		in.   (  Below-grade 		in.

iii.   Secured      								(

d.  	Media

i.	Media type

( Chamber

Manufacturer:

Model:

( Polystyrene aggregate

Manufacturer:

Model:

( Sand

Specifications:

Source:

( Clean	( Properly graded

( Washed rock

Type:

Source:

( Clean	( Properly graded

( Other

Type:

Source:

( Clean	( Properly graded

ii.	Total media depth:

inches above the distribution pipe 		inches below

- Amount of media used:

- Distribution system

  - Gravity distribution device							( NA

i. 	Type

( Distribution box    		( Drop box

( Header   Description of header:

( Other:

ii. 	Installation:	( Level	( Stable

Bedding material:

iii. 	Access	( None	( Riser

( Other:

  - Valving    							( NA

i. 	Type

( 	Alternating valve, Type:

- Zone or sequencing       ( Globe      ( Gate     (  Ball

( 	Other:

ii.  	Installation and access

(  In valve box installed in field, bedding material:

(  In dosing tank

  - Pressure manifold							( NA

i.	Specification

(	Manifold feed configuration

( End     ( Top     ( Bottom      ( Center     ( Dual center     ( Looped

Type:

Diameter: 		 in.

Length:		 ft

ii. 	Access/protection

(  Within a media filter	(  Buried

( 	Installed in vault/valve box	(  Cleanout installed

( 	Separate pressure port installed

d.  	Laterals						( NA

i.	Specification

Type:

Diameter:  			 in.

Spacing(s):			 ft

Length(s):			 ft

ii.	Installation

( Installed on contour 	( Grade according to local regulations

iii. 	Orifices				( NA

Specifications

Spacing: 				  Size:

Orientation:

Drilling

(  Manufacturer-assembled	(  Contractor-assembled

(  Drilled in a straight line	(  Drilled sharp-edged orifices

(  Burrs removed from holes	(  Debris removed from inside pipe

Protection

(  Orifice shield

(  Sleeve:  	Type: 				
Diameter: 				 in

Orientation:

e.	Geotextile/fabric cover placed over media		( NA	( Yes  	( No

7.	Final cover 			( NA

a.	Depth of cover:		 in.

b.  	Imported material required                                    		( NA	( Yes  	( No

Nature of material:

c.    Surface sloped to shed rainwater	(

d.	Vegetation covering site/planted	(

e.	Description of final landscaping:

# Text boxes

Comments:

Comments:

Comments: