Form 11.5. Installation checklist: Drip field.

Client name: 	 Reference #:

Permit(s) #:

Completed by: 	 Time: 	 Date:

- Drip field specifications

a.	Manufacturer:

Model:

b.  	Emitter type

(  Pressure compensating	(   Non-pressure compensating

c.  	Emitter flow rate:		  gph

d.	Emitter spacing:		  in.

e.	Installation depth:		  in.

f.	Number of zones:

g.	Zone description:

| Zone # | Dimensions | # of Laterals | Lateral length (ft) | Run length (ft) | Run spacing (ft) |
| --- | --- | --- | --- | --- | --- |
|  | Length (ft) | Width (ft) |  |  |  |  |

2.	Site preparation & considerations

a.	Utility location completed				(

b.  	Layout drip field zones				(

c.    Confirm system elevations				(

Elevation difference between drip field and pump discharge assembly:		ft

d.	Manage vegetation in footprint		( NA	( Yes	( No

e.	Grade soil surface in footprint		( NA	( Yes	( No

f.	Soil moisture content

i.	Soil too dry for construction		( Yes	( No

ii.	Soil too wet for construction		( Yes	( No

3.	Fill (Drip above-grade soil treatment areas)                  		(	( NA

a.	Description:

( Mound 	(  Areal fill	(  Amendment

( Mulch	(  Soil substitution 	( Other:

b.	Fill/sand specification:

c.    Minimum amount of fill prior to traffic on filled area			(

d.	Low-ground-pressure machine used to bring in fill material			(

e.	Machine used:

f.	Fill incorporated with native soil according to local code			(

4.	Tubing installation

a.	Installation method

(  Vibratory plow 	(  Static plow 	(  Trencher

(  Staked/fill	(  Hand	(  Surface

b.		Drip lines installed on the contour				(

c.	Drip line installation depth matches design			(

d.	Soil compressed around drip lines			(

e.	Manufacturer’s installation specifications met 			(

5.	Headworks

a.	Manufacturer:

Model:

b.	Panel installed 			( NA	( Yes	( No

c.	Headworks location:

( Below grade	( At-grade	( In-riser	( Other:

d.	Stable support for headworks				(

e.	If below grade, drainage is provided				(

f.	Type of drip filter:

( Sand		( Screen		( Disk		( Other:

g.	Filter Manufacturer:

Model:

h.	Filter specification: 		microns

i.	Method to clean drip filter:

( Automatic	( Continuous   	( Manual

j.	Drip filter accessible				(

k.	Drip filter flow direction verified 			(

l.  	Flow measuring method

( None		( Pump operation data

( Water meter for total flow 	( Water meter for individual zones

m.   Field flushing method

( Automatic 	( Continuous	( Manual

n.	Pressure regulator		( NA   If yes				 psi

o.	Housing insulated				( 	( NA

p.	Heater operational				( 	( NA

q. 	Manufacturer’s installation specifications met 			(

6.	Alternating/switching valves 			( NA

a.	Valve specifications:

( Solenoid	( Hydro-tech	( Other:

b.	Installation

i.	Bedding:

ii.	Accessible:  	( Valve box     ( Other:

iii. 	Access elevation

(  To grade  	(  Above grade		 in.

(  Below grade     	 in.

iv. 	Stabilized     					(

v.	Valve box insulated 			( 	( NA
c.	Indexing valve installation				( NA

i.	Distance from discharge assembly to valve:							 ft

ii.	High point in piping    			(

iii.	Pipes drain following dose			(

d.	Solenoid valve installation			( NA

i.	Wiring meets manufacturer’s guidance			(

ii.	Valve matches that specified in design    			(

7. 	Piping

a.  	Piping specifications:

b.	Supply line drainage: 		( Drainback    	( Draindown

c.	Supply manifold

Configuration:     	( Side    	( Top loading    	( Bottom loading

Drainage: 		( Drainback    	( Draindown

d.	Manifold connection to drip laterals:

( Threaded spin-lock    	( Threaded barb

( Slip-in    		( Glue type spin-lock

e.	Drip lateral/run connections:  	( Flexible PVC    	( Blank tubing

f.	Supply lines flushed before connection to tubing			(

g. 	Entire zones flushed after connection of tubing 			(

h. 	Connections checked for leakage			(

i.	Return manifold

Configuration:     	( Side    	( Top loading    	( Bottom loading

Drainage: 		( Drainback    	( Draindown

j.	Return line

Configuration:	( Single zone    ( Multiple zones

Check valve for single return lines

Drainage:		( Drainback    	( Draindown

Discharge location:

8.	Air release valves/vacuum breakers

a.	Air release valves installed on all zones 				(

b.	Valves placed at the highest point in the zone 				(

c.	Valve placed in valve box 				(

d.  	Valve box to grade 			( Yes	( No

e.	Valve box insulated			( NA	( Yes	( No

9. 	Site has access restriction		( NA	( Yes	( No

# Text boxes

Comments:

Comments:

Comments: