Form 11.6. Startup checklist:  Drip field

Client name: 	 Reference #:

Permit(s) #:

Completed by: 	 Time: 	 Date:

1.	Tubing

a.	Manufacturer:

Model:

b.  	Emitter type

(  Pressure compensating	(   Non-pressure compensating

c.  	Emitter flow rate:		  gph

d.	Emitter spacing:		  in.

e.	Installation depth:		  in.

f.	Method of installation

( Plow 		(  Trencher 	( Staked/fill		( Surface

g.	Soil compressed around drip lines				(

h.	Number of zones:

i.	Zone description:

| Zone # | Dimensions | # of Laterals | Lateral length (ft) | Run length (ft) | Run spacing (ft) |
| --- | --- | --- | --- | --- | --- |
|  | Length (ft) | Width (ft) |  |  |  |  |

2.	Headworks

a.	Manufacturer:

Model:

b.	Headworks location:

( Below grade	( At-grade	( In-riser	( Other:

c.	Stable support for headworks			(

d.	If below grade, drainage is provided			(	( NA

e.	If in riser, components in tank accessible		( 	( NA

f.	Type of drip filter:

( Sand		( Screen	( Disk	( Other:

g.	Filter manufacturer:

Model:

h. 	Filter specifications:

i.	Filter in place			( Yes	( No

j.	Pre-filter pressure:							 psi

k.	Post-filter pressure:							 psi

l.	Automatic filter cleaning operational		( NA	( Yes	( No

m.	Filter by-pass flow operating		( NA	( Yes	( No

n.    Field flushing method

( Manual 	( Automatic	( Continuous

o.	Field flushing operational						( Yes	( No

p.	Headworks housing insulated		( NA	( Yes	( No

q.	Headworks heater operational		( NA	( Yes	( No

r.	Components accessible for maintenance		( Yes	( No

3.	Alternating/switching valves

a.	Valve specifications:

( Solenoid		( Hydro-tech	( Other:

b.    Number of zones:

c.	Installation

i.	Accessible:  		( Valve box     ( Other:

ii. 	Access elevation

(  To grade   (  Above grade 		in.   (  Below grade     	     in.

iii. 	Stabilized     						(

iv.	Valve box insulated 			( 	( NA

d.	Indexing valve installation				( NA

i.	High point in piping    				(

ii.	Pipes drain following dose				(

e.	Solenoid valve installation				( NA

i.	Wiring approach:	( Power w/ common neutral  		( Two wires/valve

ii.	Voltage at valve: 		volts

iii.	Ability to manually operate valve 			( Yes	( No

f.	Valve sequences through zones in correct order			(

4.	Zone operation data:

| Zone # | Flow rate (gpm) | Leakage or wet areas (Y/N) | Time to operational pressure (min) | Vacuum / Air relief operational (Y/N) | Operating pressure on return line (psi) |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Dosing | Flushing |

5.	Control panel

a. 	Manufacturer:

Model:

b.	Initial dosing cycle settings

i.	Dosing approach

( Timed dosed	( Demand dosed	( SCADA

ii.	If timed dosed, initial settings:

Dosing duration (ON time):		 min

Resting duration (OFF time):		 min/hrs (indicate units)

c.	Initial automatic filter flushing settings				( NA

Flush duration:			 min

Frequency:

d.	Initial zone flushing control settings				( NA

Flush duration:			 min

Frequency:

e.	Initial zone operational data

| Zone # | Flow meter reading (gal) | Dosing | Flushing |
| --- | --- | --- | --- |
|  |  | Events (#) | Duration (time) | Events (#) | Duration (time) |

6.	Final cover

a.	Surface sloped to shed rainwater					(

b.	Surrounding landscape graded to prevent stormwater runon			(

c.	Description of final landscaping:

i.  If bark/mulch, depth of cover over tubing: 			 in.

7.	Manufacturer’s startup procedures followed:                       		( Yes  	( No

# Text boxes

Comments:

Comments:

Comments: