Form 11.8. Startup checklist:  Spray field

Client name: 	 Reference #:

Permit(s) #:

Completed by: 	 Time: 	 Date:

1.	Distribution approach

a.	Zones:  	( Single   		( Multiple: #

b.	Distribution control:  		( Demand dosed   		( Time dosed

c.	In-line filter in discharge assembly			( NA	( Yes	( No

i.	Filter type:

ii.	Filter manufacturer:

iii.	Model number:

2.	Alternating/switching valves

a.	Switching valve present				( NA	( Yes	( No

b.	Type of valve:

c.	Valve sequences through zones			( Yes	( No

d.	Installation

i.	Accessible:  	( Valve box     	( Other:

ii.	Foundation in bottom of access				(

iii. 	Access elevation

(  To grade   (  Above grade 	in.   (  Below grade 	in.

iv. 	Stabilized     			(

v.	Valve box insulated 			( NA

3.	System operation

a.	Operating pressure:						 psi

b.    Location of pressure reading:

4.	Control panel

a. 	Manufacturer:

Model:

b.	Is enclosure watertight							( Yes	( No

c.	Photocell functioning						( NA	( Yes	( No

Sensor manufacturer:

Model:

d.	Rainfall shutoff functioning				( NA	( Yes	( No

Sensor manufacturer:

Model:

5.	Distribution head operation

a.	Heads in proper adjustment					(

b.	Pop-up heads retracting					( NA	( Yes	( No

c.	Distribution head operation summary:

| Zone (#) | Head (#) | Data | Operation (impact, rotor, spray) | Pattern | Low angle nozzle | Riser / head protection |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Manufacturer | Model # |  |  |  |  |

6.	Public health considerations

a.	Color coding			( Yes	( No

b.	Signage				( NA	( Yes	( No

c.	Fencing				( NA	( Yes	( No

d.	Zone distance to property line:			 ft

7.	Final landscaping

a.	Soil surface material specifications:

b.	Surface sloped to shed rainwater				(

c.	Surrounding landscape graded to prevent stormwater runon			(

d.	Vegetation covering site/planted					(

# Text boxes

Comments: