Form 8.3 Startup checklist: Tanks	Form 		 of

Note: A separate checklist should be included for each tank installed.

Client name: 					 Reference #:

Permit(s) #:

Completed by: 		 Time:				 Date:

1.	Tank description

a.	Type of tank:

( Septic tank          	( Trash tank	( Holding tank	( Processing tank

( Pump tank    	( Siphon tank		( Surge/flow equalization tank

( Grease trap    	( Recirculation tank

b. 	Manufacturer:

Model #:

c.  	Material

( Concrete       	( Fiberglass       	( Plastic/Poly

( Other:

d.	Manufacturer’s load-bearing rating: 		 (psf or maximum burial depth)

e.	Tank inside dimensions:

f.	Compartmented:  		( NA	( Yes 	( No

Capacities of compartments:	1)	 gal        2) 	gal

If compartmented dosing tank, wall rated 	( NA	( Yes 	( No

g.	Multiple tanks		( NA	( Yes 	( No

Capacities for multiple tanks:	1)	 gal   	2) 	gal

h.	Total capacity: 			 gal

i.	Tank effective depth:						 in.

j.	Gallons per inch (gpi):					 gal/in.

k.	Sealant visible in tank seams:                           	( NA	( Yes 	( No

l.	Tank level  				( Yes  	( No

m.	Watertightness testing certification  	( NA	( Yes 	( No

2.  Tank access

a.	Access location:              ( Inlet	( Outlet		( Center

b.	Tank access located at grade		( Yes  	( No

If ‘No’, depth below grade: 				 in.

c.	Risers on tank					( Yes  	( No

Riser manufacturer:

Model:

Lid manufacturer:

Model:

Interior access:  (  Second lid	(  Grate	(  Netting	(  NA

Traffic rated (AASHTO H-20/HS-20)		( Yes  	( No

Diameter:

Depth:

d.	Lids secure					( Yes  	( No

e.	Lids in operable condition			( Yes  	( No

3. 	Venting:

a.  	Tank vents to:

(  House plumbing stack	(  Vent on tank

(  Access riser			(  Lid

b.    Air passage is clear 			( Yes  	( No

4. 	Baffles/compartments/vaults

a.	Inlet baffle in place/accessible:               			( NA	( Yes 	( No

Depth from bottom of baffle to tank bottom: 	   		  			 in.

(  If plate, clearance between pipe and baffle: 							 in.

b.	Outlet baffle in place/accessible             			( NA	( Yes  	( No

Depth from bottom of baffle to tank bottom:	 						in.

(  If plate, clearance between pipe and baffle: 							in.

(  If effluent screen:

Manufacturer:

Model:

c.    Compartment baffle/slot in place            		( NA	( Yes	( No

If baffle, is it accessible?                                   		( Yes	( No

d.    Pump vault  					( NA

(  Vault with basket

(  Vault with screen

Manufacturer:

Model:

5. 	Insulation					( NA

(  Access riser		(  Lid

6.	Piping

a. 	Piping in appropriate sequence/slope (inlet/outlet) 			( Yes	( No

b.	Pipe type entering tank:

c.  	Pipe type exiting tank:		            	( NA (Holding tank)

d.	Pipe penetrations sealed (including electrical conduit)  		( Yes	( No

7.	Tank operating conditions

a.	Liquid level in tank:		in.

b.	Relative to:	( Inlet invert		( Outlet invert	( Alarm activation level

Level is:       	( At			( Above	( Below

8.	Septic tank/grease trap/holding tank alarm(s)

a.	Alarm(s) present                                             		( NA	( Yes	( No

(  Audible alarm operational

(  Visible alarm operational

Alarm activation depth: (measured from invert of tank inlet): 		in.

Manufacturer:

Model:

b.	Remote telemetry operational			( NA	( Yes	( No

Manufacturer:

Model:

Note: if land line used, it must be/remain active for remote alarm to be operational.

9.  Final cover

a. 	Depth to top of tank: 					 in.

( Does not exceed maximum specification

b.	Material:

c. 	Sloped to allow for settling and shedding water	            		( Yes	( No

10. Site stabilization

(  Erosion control measures in place

(  Topsoil dressed

(  Seeded

(  Mulched

# Text boxes

Comments:

Comments: