Form 1-2 Operational Checklist:  System evaluation (SE)

(This form is used for identification of the system design flow and to gather the operational checklists needed for conducting an O&M service visit.)

A.  Client Contact Information

Name of owner:		System ref. #:

Site address/County:

Date of last service:

B.  System Documentation  (See Form 1.1 System Description (SD) for complete documentation)

Design flow:  	Gal per day

C.  Operational Checklists (from Form 1.1 System Description (SD) Section C)

Form 4.1 Site Assessment on File.       Yes    No

Tanks and advanced treatment component operational checklists (Chapters 5, 6 and 7):

 Pump: Demand-Dosed system: 			 Aerobic treatment unit:

 Pump: Timer-Dosed system: 			 Constructed wetland:

 Holding tank: 			 Lagoon:

 Septic/Trash/Processing (tank): 		 	 Disinfection unit –Chlorine:

 Pump tank(s): 			 Disinfection unit –Ultraviolet light:

 Media filter: 			 Disinfection unit –Ozone:

Final treatment and dispersal component operational checklists (Chapter 8):

 Gravity distribution: 			 Drip distribution system:

 Evapotranspiration bed: 			 Spray distribution system:

 Mound system: 			 Discharging systems outfall:

 Bottomless sand filter:			 Bottomless peat filter:

 Low-pressure drainfield:

D.  System Evaluation

1.	O&M service provided on:  	Date:		Time:

2.	Observation and assessment of the site (on lot and in neighborhood)

a.	Evaluate presence of odor within 10 ft of perimeter of system:

ð None     ð Mild     ð Strong      ð Chemical     ð Sour

i) 	Source of odor, if present:

b.	Any surfacing or breakouts.	Yes ___ No____

c.	Any construction, utility work, or changes in drainage patterns.	Yes ___ No____

d.	Are all components present and not modified.	Yes ___ No____

e.	Are all lids at grade or on risers present and secure.	Yes ___ No____

f. 	Traffic on onsite wastewater system.		Yes ___ No____

System ref. #:

3.	Estimated system flow:  		___________ gallons per day

Indicate method used for estimate:

ð House water meter reading:

This time: 				(gal)  - Last time: 				(gal)	=  Result: _____ gal

Result: 				(gal) / 						days 	= ___________GPD

ð Pump tank control meter readings (indicate form used):	PDD: 		 PTD:

ð Discharge line meter

ð Estimate based on number of occupants:                                      				People

4.	Complete operational checklists for pretreatment components, pumps, pump tanks and controls (Chapters 5, 6 and 7).

5.	Complete operational checklists for final treatment and dispersal components (Chapter 8).

6.	Updates required on Form 1.1 System Description:

7.	Site status at conclusion of O&M service visit:

 Verify that controls are set on the appropriate mode.

 Power is on to all components.

 Revisit all components to verify lids are secure.

 Gather all tools for removal from the site.

 Verify that no sewage is on the ground surface.

 Service notification.

8.	Comments:

9. 	Overall system condition:

 Acceptable                    	 Maintenance needed

 Unacceptable              	 Maintenance performed

 Mitigation required

Company name:

Agreement period from:  			 		to

This report indicates the condition of the above onsite wastewater treatment system at the time of the O&M service visit.  It does not guarantee that it will continue to function satisfactorily.

Signature of service provider:  	Date: