Form 5-1 Operational Checklist:  Holding tank (HT)

Service provided on:   Date:               	Time:                        		Reference #:

Service provided by:   Company: 				     	  	Employee:

Date of last service: 		 		By:   You    Other:

Date of last inspection: ___________________

NOTES

1.    Conditions at the tank

1.   Acceptable

 Unacceptable

3.  ð Acceptable

ð Unacceptable

4.  ð Acceptable

ð Unacceptable

5.  ð Acceptable

ð Unacceptable

6.  ð Acceptable

ð Unacceptable

a.	Evaluate presence of odor within 10 ft of perimeter of system:

ð None     ð Mild     ð Strong      ð Chemical     ð Sour

b.	Source of odor, if present: ________________________________

2.	Tank description

a.	Material:       Concrete          Fiberglass              Plastic

b.	Capacity:	                       gal

3.	Tank access

a.	Access location:               Inlet              Center

b.	Located at grade.	Yes	No

c.	If ‘No’, how deep is lid buried.

d.	Risers on tank.	Yes	No

e.	Evidence of infiltration in risers.	Yes	No

f.	Lids securely fastened.	Yes	No

g.	Lid in operable condition.	Yes	No

4.	Alarm(s)

a.	Alarm(s) present.	Yes	No

b.	Audio alarm operational.	N.A. 	Yes	No

c.	Visual alarm operational.	N.A. 	Yes	No

d.	Remote telemetry operational.	N.A. 	Yes	No

e.	Electronic monitoring operational.	N.A. 	Yes	No

5.	Current tank operating conditions

a.    Liquid level relative to inlet:                         	____________in

 At          Above        Below

b.	Maximum liquid level of tank (invert of inlet pipe):		in

c.	Height at which alarm is activated as measured

from invert of inlet:						in

d.	Evidence liquid level has been higher.	Yes	No

e.	Evidence liquid level dropped without pumping.	Yes	No

f.	Evidence of continuous inflow.	Yes	No

g.     Date of last pump out:____________________________________

6.	Tank structural condition (evaluate if tank pumped):	N.A.

a.	Appears to be watertight (no visual leaks).	Yes	No

b.	Rebar exposed.	Yes	No

c.	Corrosion present.	Yes	No

d.	Spalling present.	Yes	No

e.	Cracks present.	Yes	No

f.	Root intrusion.	Yes	No

g.	Deflection noted.	N.A.	Yes	No

7.	Holding tank pumping recommended.	Yes	No

8. 	Contractor responsible for pumping:

a.	Gal removed: ___________________Date:____________________