Form 6-1 Operational Checklist:  Pump tank (PT)

Service provided on:   Date:               	Time:                        		Reference #:

Service provided by:   Company: 				     	  	Employee:

Date of last service: 		 		By:   You    Other:

Date of last inspection: _______________________________

1.   Type:

 Pump tank    	 Siphon tank      	 Surge/Flow equalization tank

 Processing tank	 Recirculation tank   	 Internal pump basin sump

a.	Pump intake depth:______________

NOTES

2.	Conditions at the pump tank

2.   Acceptable

 Unacceptable

3.   Acceptable

 Unacceptable

4.  ð Acceptable

ð Unacceptable

5.  ð Acceptable

ð Unacceptable

6.  ð Acceptable

ð Unacceptable

7.  ð Acceptable

ð Unacceptable

8.  ð Acceptable

ð Unacceptable

9.  ð Acceptable

ð Unacceptable

a.	Evaluate presence of odor within 10 feet of perimeter of system:

ð None     ð Mild     ð Strong      ð Chemical     ð Sour

b.	Source of odor, if present: ________________________________

3.  Tank description

a.	Material:         Concrete     Fiberglass          Plastic

b.	Capacity:		gal

c.	Surface area:		 sq ft

d.	Operational depth:		in

e.	Gallons per inch (GPI):		gal/in

4.	Tank access

a.	Access location:               Inlet              Outlet              Center

b.	Located at grade.	Yes	No

c.	If ‘No’, how deep is lid buried.

d.	Risers on tank.	Yes	No

e.	Evidence of infiltration in risers.	Yes	No

f.	Lids securely fastened.	Yes	No

g.	Lid in operable condition.		Yes	No

5.	Current tank operating conditions

a.    Liquid level relative to outlet:                         	____________in

 At          Above        Below

b.	Maximum liquid level of tank (invert of inlet pipe):		in.

c.	Height at which alarm is activated as measured

from top of maximum liquid level:						in

d.	Evidence liquid level has been higher.	Yes	No

e.	Evidence liquid level dropped without pumping.	Yes	No

f.	Evidence of continuous inflow.	Yes	No

g.     Date of last pumpout:____________________________________

6.	Pump/Siphon

a.	Pump/Siphon under access.	Yes	No

b.	Pull chain or rope present.	       N.A.___ Yes        No

7.	Discharge assembly:		N.A.__________

a.	Anti siphon/air release device.		Yes	No

b.	Backflow prevention (check valve) present.	Yes	No

c.	Air release located below check valve.	Yes	No

d.	Drain back device present.		Yes	No

e.	Quick disconnect present.	Yes	No

f.     Isolation valve present.	Yes	No

g.	Inline filters present.	Yes	No

8.	Electrical components sealed and watertight.     N.A.____	Yes	No

9.	Tank structural condition (evaluate if tank pumped):	N.A.

a.	Appears to be watertight (no visual leaks).	Yes	No

b.	Rebar exposed.	Yes	No

c.	Corrosion present.	Yes	No

d.	Spalling present.	Yes	No

Reference #:

e.	Cracks present.	Yes	No

f.	Root intrusion.	Yes	No

10.	Solids accumulation:

| Scum (in) | Sludge (in) | Odor | Color | Other |
| --- | --- | --- | --- | --- |

11.	Tank pumping recommended.	Yes	No

12.	Contractor responsible for pumping:

a.	Gal removed:___________________Date:____________________

13.	Screen(s)

a.	Type of screen:   Vault with basket    Vault with filter    In-line screen

b.	Was screen cleaned.	Yes	No

14.	Lab samples collected for monitoring.	Yes	No

Types of analysis: