Form 7-3 Operational Checklist:  Constructed wetland (CW)

Service provided on:   Date:                Time:                        		Reference #:

Service provided by:   Company: 				     	  	Employee:

Date of last service: 		 		By:   You    Other:

Date of last inspection: _______________________________

1.	Constructed wetland:                             	       Cell # : ________/ _________

a.	Media:	 None 	 Gravel, average diameter:   		in

NOTES

 Other:

b.	Flow regime:   Surface    	 Subsurface     Combination

2.   Acceptable

 Unacceptable

3.   Acceptable

 Unacceptable

4.   Acceptable

 Unacceptable

5.   Acceptable

 Unacceptable

6.   Acceptable

 Unacceptable

7.   Acceptable

 Unacceptable

8.   Acceptable

 Unacceptable

c.    Distribution:      	 Pressure         Gravity

2.	Conditions at the constructed wetland

a.	Evaluate presence of odor within 10 ft of perimeter of system:

ð None     ð Mild     ð Strong      ð Chemical     ð Sour

b.	Source of odor, if present: _________________________________

c.    Type of border material:

d.	Border material in good repair.	Yes	No

e.	Evidence of water/soil entering wetland.	Yes	No

f.	Fence present and operable.                  N.A.____Yes	No

g.	Animal activity at wetland surface.	Yes	No

3.	Water level management

a.	Header distribution plugged.			Yes	No

b.	Water level control option available.	Yes	No

c.	Water level adjustment needed.	Yes	No

4.	Vegetation

a.	Is species appropriate.	Yes	No

b.    Is vegetation alive. 	Yes	No

c.	Replanting needed.	Yes	No

d.	Vegetation removal required.	Yes	No

5.	Effluent quality

a.	Turbidity: 			 NTU

b.    Oily film on the surface of effluent.	Yes	No

c.	DO in outlet:		 	mg/l

d.	pH in outlet:

e.	Temperature in outlet:

f.	Bypass or overflow noticed.	Yes	No

g.	Effluent odor after passing through wetland:

	None		Mild		Strong

h.	Effluent color after passing through wetland:

	Clear		Brown		Black

6.	Additional tasks for subsurface flow wetlands

a.	Media surface level.	Yes	No

b.	Water level below media surface:			in

7.	Additional tasks for recirculating wetlands

a.	DO in recirculation tank:		        mg/l

b.	Inspected recirculating device.	N.A.	Yes	No

c.	Cleaned recirculating device.                   N.A.	Yes	No

d.	Design recirculation ratio:		:

e.	Actual recirculation ratio:		:

f.	Recirculation changed to:		:

*If dam configuration, recirculation device cannot be inspected or cleaned

8.	Inspection ports

a.	Inspection ports present.	Yes	No

b.	Inspection ports intact.	Yes	No

9.	Lab samples collected for monitoring.	Yes	No

Types of analysis: