Form 7-4 Operational Checklist: Lagoon Maintenance (LM)

Service provided on:   Date:                Time:                        		Reference #:

Service provided by:   Company: 				     	  	Employee:

Date of last service: 		 		By:   You    Other:

Date of last inspection: _______________________________

1. 	Lagoon:		Cell #: 	 /

NOTES

a.	Type:    Aerobic      Facultative

2.    ð Acceptable

ð Unacceptable

3.    ð Acceptable

ð Unacceptable

4.    ð Acceptable

ð Unacceptable

5.  ð Acceptable

ð Unacceptable

6.  ð Acceptable

ð Unacceptable

2. 	Conditions at the lagoon

a.	Evaluate presence of odor within 10 ft of perimeter of system:

ð None     ð Mild     ð Strong      ð Chemical     ð Sour

b.	Source of odor, if present: ________________________________

c.	Color of lagoon water:

 Clear	 Green	 Purple   	 Other:

d.	Sludge pumping necessary.		Yes	No

e. 	Animal activity at surface.		Yes	No

3.	Border around lagoon

a.	Type of border material:

b.	Border effective and in good repair.	Yes	No

c.	Evidence of water/soil entering lagoon.	Yes	No

d.	Berm free of burrowing animals.	Yes	No

e. 	Berm protected from erosion.	Yes	No

f.	Trees present on the berm.	Yes	No

g.	Fencing is present and operable.	Yes	No

4.	Vegetation in lagoon

a.	Floating vegetation present.	Yes	No

b.    If yes, vegetation removed.	Yes	No

c.	Vegetation at edges present.	Yes	No

5.	Water level management

a.	Water level below freeboard:	____________ft

b.	Water level relative to: 	  Outlet	 Berm 	____________in

 Above      Below

c.	Water level control option available	Yes        No

6.	Effluent quality

a.	Turbidity: 		 	NTU

b.    Oily film on the surface of effluent.	Yes	No

c.	DO at outlet or across from inlet:		 	mg/l

d.	pH at outlet or across from inlet:

e.	Temperature in outlet:

f.	Bypass or overflow noticed.	Yes	No

g.	Effluent odor after passing through lagoon (if discharging):

	None		Mild		Strong

h.	Effluent color after passing through lagoon (if discharging):

	Clear		Brown		Black

7.	Lab samples collected for monitoring.	Yes	No

Types of analysis: