Form 7-6  Operational Checklist:  DISINFECTION UNIT – ULTRAVIOLET LIGHT (DUUL)

Service provided on:   Date:                Time:                        		Reference #:

Service provided by:   Company: 				     	  	Employee:

Date of last service: 		 		By:   You    Other:

Date of last inspection: _______________________________

NOTES

1.	Power supply

1.   Acceptable

 Unacceptable

2.   Acceptable

 Unacceptable

3.   Acceptable

 Unacceptable

4.   Acceptable

 Unacceptable

5.   Acceptable

 Unacceptable

6.   Acceptable

 Unacceptable

a.	Dosing method:          Pressure dosed     		 Gravity fed

b.	Manufacturer:______________ 	Model #:__________________

c.	Power supplied to the unit. 	Yes	No

d.	UV lamp ‘ON’.	Yes	No

e.	Electrical system is free of corrosion/damage. 	Yes	No

f.	Ballast replaced during this visit.	Yes	No

g.	Last replacement date:	____ / ____ / ___

2.	UV controls

a.	Unit equipped with a lamp intensity sensor.	Yes	No

b.	If so, what was intensity reading:

c.	Alarm present.	Yes	No

d.	Alarm operating properly.	Yes	No

3.	Contact chamber, lamp, and sleeve conditions

a.	Evidence of damage or leakage.	Yes	No

b. 	Contact chamber cleaned/flushed of solids.	Yes	No

c.	Type of protective sleeve:          Quartz    Teflon    Other: ______

d.	Protective sleeve free of buildup. 	Yes	No

e.	Protective sleeve cleaned.	Yes	No

f.	Protective sleeve replaced during this visit. 	Yes	No

g.	Date last replaced:	____ / ____ / ___

h.	UV lamp replaced during this visit.  	Yes	No

i.	Date last replaced:	____ / ____ / ___

4.	Influent characteristics

a.	Turbidity:                                                  		 NTU

b.	Flow rate:		gpm

c.	Indicate wastewater characteristics that may compromise treatment:

5.	 Control panel:     					N.A.__________

a.	Controls operating properly. 			Yes	No

b.	Is enclosure watertight.			Yes	No

c.	Alarm test switch operating properly.		Yes	No

d.	At time of inspection, control switch was set to: 	N.A.___________

“Hand/Manual”__

“Auto”_________

e.	If auto, setting:    Time on:_______ (min) Time off:________ (min)

6.	Housing unit: 		Location:_________________

a.	Appears in good condition.		Yes	No

b.	Leaks/Cracks present.		Yes	No

c.	Excessive dust present.		Yes	No

7.	Manufacturer’s required maintenance performed.	Yes	No

(If ‘Yes’, attach Manufacturers Inspection form to this report, if supplied)

8.	Lab samples collected for monitoring.		Yes	No

Types of analysis: