Form 8-3  Operational Checklist:  Low-pressure drainfield (LPD)

Service provided on:   Date:               	Time:                        		Reference #:

Service provided by:   Company: 				     	  	Employee:

Date of last service: 		 		By:   You    Other:

Date of last inspection: _______________________________

1.	Effluent quality:   Aerobic    		 Septic tank effluent (anaerobic)

Type of low-pressure drainfield: 	 Low-pressure pipe	 Shallow narrow drainfield

NOTES

2.	Conditions at the LPD

2.   Acceptable

 Unacceptable

3.   Acceptable

 Unacceptable

4.   Acceptable

 Unacceptable

a.	Topography:	 Level	   Sloping: _________ % slope

b.	Evaluate presence of odor within 10 ft of perimeter of system:

ð None     ð Mild     ð Strong      ð Chemical     ð Sour

c.	Source of odor, if present: ________________________________

d.	Indications of leaks around/above system.	Yes	No

e.	Vegetation appropriate.	Yes	No

f.	Excessive vegetative growth.	Yes	No

g.	Vegetation adequately maintained.	Yes	No

h.	Preventing accessibility for maintenance.	Yes	No

3.	Supply line

a.	Line drains freely.	Yes	No

b.	Ponding or saturation present along

parts of the supply line.	N/A	Yes	No

c.	Air relief(s) valve operating.	N/A	Yes	No

4.	Switching valves

a.	Switching valve present.	Yes	No

b.	Type of valve:

c.	Operating properly.	Yes	No

d.	Action taken if not:

e.	Laterals/zones in operation:

5.	Soil treatment area information:

| Zone # | Lateral # | Distal Head |  | Ponding Yes - No (in) | Surfacing Effluent |  | Lateral Ends |  |  | Root Intrusion (Yes – No) | Other Obstruction (Specify) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Operating at (in) | Adjusted to (in) |  | (Yes – No) | Distance Traveled (in) | Intact | Protected | Accessible |  |  |

Reference #:

6.	Orifices

6.   Acceptable

 Unacceptable

7.   Acceptable

 Unacceptable

a.	Position:      	 6 o’clock     	 12 o’clock

b.	Orifices cleaned.		Yes	No							c.	Method: 	 Hydrojetted	 Bottlebrushed

 Flushed			 Other:

7.	Elevated system:                  				N/A

a.	Surfacing effluent present.        		Yes	No

8.	Lab samples collected for monitoring.	Yes	No

Types of analysis: