Form 8-4a Operational Checklist: Bottomless sand filters and mounds (BSF and MS)

Service provided on:   Date:               	Time:                        		Reference #:

Service provided by:   Company: 				     	  	Employee:

Date of last service: 		 		By:   You    Other:

Date of last inspection: _______________________________

NOTES

1.	Type:               Bottomless sand filter              Mound system

2.   Acceptable

 Unacceptable

3.  ð Acceptable

ð Unacceptable

4.  ð Acceptable

ð Unacceptable

5.  ð Acceptable

ð Unacceptable

6.  ð Acceptable

ð Unacceptable

2.	Conditions at the drainfield site

a.	Evaluate presence of odor within 10 ft of perimeter of system:

ð None     ð Mild     ð Strong      ð Chemical     ð Sour

b.	Source of odor, if present: ________________________________

c.	Indications of leaks around/above system.	Yes	No

d.	Vegetation appropriate.	Yes	No

e.	Excessive vegetative growth.	Yes	No

f.	Vegetation adequately maintained.	Yes	No

g.	Preventing accessibility for maintenance.	Yes	No

3.	Media surface

a.	Biomat on surface.	Yes	No

b.	Uniform gravity distribution.                 N.A.	Yes	No

c.	Uniform spray pattern.                           N.A.	Yes	No

d.	Ponding in media.	Yes	No

e.	Plugging/clogging of distribution components.  	Yes	No

f. 	Media appears to be settling.	Yes	No

g.	Appropriate maintenance performed.	Yes	No

h.	Animal activity at surface.	Yes	No

4.	Pressure distribution:					N.A.

a.	Distal head before cleaning

i)	Equal height.	 Yes	No

ii)	Height (inches):			in

b.	Lateral condition

i)	Laterals in need of cleaning.	Yes	No

ii)	Laterals cleaned.	Yes	No

iii)	Method for cleaning laterals:

c.	Distal head after cleaning

i)	Equal height.	 Yes	No

ii)	Height (inches):			in

5.   Additional requirements for mounds

a. 	Ponding at toe/sides.	Yes	No

b.	Seepage at toe/sides.	Yes	No

6.	Inspection ports

a.	Inspection ports present.	Yes	No

b.	Inspection ports intact.	Yes	No

7.	Lab samples collected for monitoring.	Yes	No

Types of analysis: