Form 8-6 Operational Checklist:  Spray field (SF)

Service provided on:   Date:               	Time:                        		Reference #:

Service provided by:   Company: 				     	  	Employee:

Date of last service: 		 		By:   You    Other:

Date of last inspection: _______________________________

NOTES

1.   Acceptable

 Unacceptable

3.   Acceptable

 Unacceptable

4.   Acceptable

 Unacceptable

6.   Acceptable

 Unacceptable

7.   Acceptable

 Unacceptable

1.	Conditions at the spray distribution field

a.	Evaluate presence of odor within 10 ft of perimeter of system:

ð None     ð Mild     ð Strong     ð Chemical     ð Sour

b.	Source of odor, if present: ________________________________

c.	Indications of leaks around/above system.	Yes	No

d.	Vegetation appropriate.	Yes	No

e.	Excessive vegetative growth.	Yes	No

f.	Vegetation adequately maintained.	Yes	No

g.	Preventing accessibility for maintenance.	Yes	No

2.	Distribution approach

a.	Zones:   Single    Multiple: #

3.	Switching valves

a.	Switching valve present.	Yes	No

b.	Type of valve:

c.	Operating properly.	Yes	No

d.	Action taken if not:

4.	Site conditions

a.	Color coding.		Yes ____ No ____

b.	Signage.	N.A.	Yes ____ No ____

c.	Fencing.	N.A.	Yes ____ No ____

5.	System operating pressure:		  ______	_____ PSI

a.    Location of pressure reading:  _______________________________

6.	Control panel

a.	Timer operating properly.		N.A.	Yes	No

i) Timer settings:	     ON_________________min

OFF ________________min

b.	Photocell functioning.		N.A.	Yes	No

c.	Rainfall shutoff functioning.		N.A.	Yes	No

7.	Distribution head operation

a.	Low-pressure shutoff valve.	N.A.	Yes	No

b.	In-line filter cleaned.	N.A.	Yes	No

c.	Heads in proper adjustment.		Yes	No

d.	Pop-up heads retracting. 		N.A.	Yes	No

e.	Distribution head operation summary:

| Zone | Low Angle Nozzle | Pattern |  | Operation (Impact, Rotor, Spray) | Low-Pressure Drain | Riser Intact |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Current Pattern | Designed Pattern |  |  |  |

Reference #:

8.	Zone operational conditions:

| Zone | Erosion | Wastewater Runoff | Ponding | Vegetation |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | Clear of Distribution Pattern | Type |

9.   Manufacturer’s required maintenance performed.	Yes	No

(If ‘Yes’, attach Manufacturer Inspection form to this report, if supplied)

PSI- pounds per square inch