Form 8-7 Operational Checklist:  Outfall (OS)

Service provided on:   Date:               	Time:                        		Reference #:

Service provided by:   Company: 				     	  	Employee:

Date of last service: 		 		By:   You    Other:

Date of last inspection: _______________________________

NOTES

1.	Type of outfall

2.   Acceptable

 Unacceptable

3.  ð Acceptable

ð Unacceptable

a.	Treatment component:

ð Lagoon     ð Media filter    ð Aerobic treatment unit

b.	Subsurface drainage:   Interceptor     Perimeter

b.	Flow delivery:   Gravity flow     Pumped flow

2.	Discharge effluent condition

a.	Evaluate presence of odor within 10 ft of perimeter of system:

ð None     ð Mild     ð Strong      ð Chemical     ð Sour

b.	Source of odor, if present: ________________________________

c.	Evidence of discharge.	Yes	No

d. 	If evidence of discharge, describe status: 	 Current     Previous

e.	If current discharge, describe rate of discharge:

 Dripping   Trickling   Flowing

f.	Residuals in discharging effluent.	Yes	No

g.	Animal or vector activity in discharged effluent.	Yes	No

3.	Outfall structure condition

a.	Outlet unobstructed.	Yes	No

b.	Vegetation maintenance necessary.	Yes	No

c.	Erosion around outlet pipe.	Yes	No

d.	Outlet protected from animal activity.	Yes	No

e.	Discharge pipe in good condition.	Yes	No

f.	If maintenance needed, maintenance completed.	Yes	No

g.	If groundwater is present, flow rate of discharge:	___________ GPM

4.	Lab samples collected for monitoring.	Yes	No

Types of analysis: