Form 8-4b Operational Checklist: Bottomless peat filter (BPF)

Service provided on:   Date:               	Time:                        		Reference #:

Service provided by:   Company: 				     	  	Employee:

Date of last service: 		 		By:   You    Other:

Date of last inspection: _______________________________

NOTES

NOTES

1. 	Conditions at the drainfield site

a.	Evaluate presence of odor within 10 ft of perimeter of system:

ð None     ð Mild     ð Strong      ð Chemical     ð Sour

2.  ð Acceptable

ð Unacceptable

3.  ð Acceptable

ð Unacceptable

b.	Source of odor, if present: ________________________________

2.	Media surface

a.	Top of filter media in good condition.	Yes	No

b.	Uniform distribution or spray pattern noticed.	Yes	No

c.	Ponding in media.	Yes	No

d.	Media in need of cleaning.	Yes	No

e.	Additional media needed.	Yes	No

f.	Date of last media replacement:

g.	Media in need of replacement.	Yes	No

h.	Appropriate maintenance performed.	Yes	No

3.	Pressure distribution:					N.A.

a.	Distal head before cleaning

i)	Equal height.	 Yes	No

ii)	Height (inches):			in

b.	Lateral condition

i)	Laterals in need of cleaning.	Yes	No

ii)	Laterals cleaned.	Yes	No

iii)	Method for cleaning laterals:

c.	Distal head after cleaning

i)	Equal height.	 Yes	No

ii)	Height (inches):			in

4.   Manufacturer’s required maintenance performed.	Yes	No

(If ‘Yes’, attach Manufacturer Inspection form to this report, if supplied)

5.	Lab samples collected for monitoring.	Yes	No

Types of analysis: